IMO Pump REPAIR PARTS KITS

|  |  |
| --- | --- |
| https://www.apewater.com/wp-content/uploads/2014/02/IMO-repair-kit.jpg | Pump parts for  **IMO G3DB-250 Pumps** (p/n 3215/150)   * **Minor Repair Kits** contain basic common wear parts - seals, bearings, gaskets and o-rings. * **Major Repair Kits** contain all wearing parts including all Minor Kit parts |

|  |  |  |
| --- | --- | --- |
| **G3DB-250** | **MINOR KIT** | **3215/150RA** |

Please note: Minor Repair Kits basic common wear parts - seals, bearings, gaskets and o-rings.

|  |  |  |
| --- | --- | --- |
| **Quantity:** | **Part #:** | **Description:** |
| 2 ea. | [PP056SB1-014](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056SB1-014&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056SB1-431](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056SB1-431&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056SB1-359](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056SB1-359&exactmatch=yes) | **\***O-RING |
| 1 ea. | [S423EBR](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S423EBR&exactmatch=yes) | **\***GASKET |
| 2 ea. | [PP028KA-156](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP028KA-156&exactmatch=yes) | **\***RING, RETAINING, EXT. |
| 1 ea. | [S438EAKX1](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S438EAKX1&exactmatch=yes) | **\***SPACER SUB-ASSEMBLY |
| 1 ea. | [PP047BE/C](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP047BE%2FC&exactmatch=yes) | **\***BEARING |
| 1 ea. | [PP046JDT](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP046JDT&exactmatch=yes) | **\***SEAL 1.750 RO RBRBLW |
| 1 ea. | [PP028JA-175](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP028JA-175&exactmatch=yes) | **\***RING RETAINING, BASIC EXTERNAL |
| 1 ea. | [S423EBS](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S423EBS&exactmatch=yes) | **\***GASKET |

|  |  |  |
| --- | --- | --- |
| **G3DB-250** | **MAJOR KIT** | **3215/150R** |

Please note: Major Kits contain all wearing parts including Minor Kit parts

|  |  |  |
| --- | --- | --- |
| **Quantity:** | **Part #:** | **Description:** |
| 1 ea. | [S404EAH](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S404EAH&exactmatch=yes) | **\***HOUSING |
| 1 ea. | [S427EBP/C](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S427EBP%2FC&exactmatch=yes) | **\***TUBE |
| 2 ea. | [PP056SB1-014](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056SB1-014&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056SB1-431](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056SB1-431&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056SB1-359](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056SB1-359&exactmatch=yes) | **\***O-RING |
| 1 ea. | [S423EBR](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S423EBR&exactmatch=yes) | **\***GASKET |
| 1 ea. | [S402EAK](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S402EAK&exactmatch=yes) | **\***COVER INB |
| 1 ea. | [DSC250AG](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=DSC250AG&exactmatch=yes) | **\***POWER ROTOR |
| 2 ea. | [PP028KA-156](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP028KA-156&exactmatch=yes) | **\***RING, RETAINING, EXT. |
| 1 ea. | [S438EAKX1](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S438EAKX1&exactmatch=yes) | **\***SPACER SUB-ASSEMBLY |
| 1 ea. | [PP047BE/C](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP047BE%2FC&exactmatch=yes) | **\***BEARING |
| 2 ea. | [RSC250AH](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=RSC250AH&exactmatch=yes) | IDLER |
| 2 ea. | [S411EAF/C](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S411EAF%2FC&exactmatch=yes) | **\***HSG. IDLER BAL. PIST. |
| 1 ea. | [S406ET](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S406ET&exactmatch=yes) | **\***THRUST PLATE |
| 1 ea. | [PP046JDT](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP046JDT&exactmatch=yes) | **\***SEAL 1.750 RO RBRBLW |
| 1 ea. | [PP028JA-175](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP028JA-175&exactmatch=yes) | **\***RING RETAINING, BASIC EXTERNAL |
| 1 ea. | [S423EBS](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S423EBS&exactmatch=yes) | **\***GASKET |

|  |  |
| --- | --- |
| 9332 North 95th Way  Scottsdale, AZ 85258  ***Phone:480-998-4097***  [sales@apewater.com](mailto:sales@apewater.com) |  |