IMO Pump REPAIR PARTS KITS

|  |  |
| --- | --- |
| https://www.apewater.com/wp-content/uploads/2014/02/IMO-repair-kit.jpg | Pump parts for  **IMO PG3DNSJ-275 Pumps** (p/n 3217/1034)   * **Minor Repair Kits** contain basic common wear parts - seals, bearings, gaskets and o-rings. * **Major Repair Kits** contain all wearing parts including all Minor Kit parts |

|  |  |  |
| --- | --- | --- |
| **PG3DNSJ-275** | **MINOR KIT** | **3217/1034RA** |

Please note: Minor Repair Kits basic common wear parts - seals, bearings, gaskets and o-rings.

|  |  |  |
| --- | --- | --- |
| **Quantity:** | **Part #:** | **Description:** |
| **ELASTOMER/BEARING MODULE** | | |
| 2 ea. | [PP056TB1-012](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-012&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056TB1-438](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-438&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056TB1-364](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-364&exactmatch=yes) | O-RING |
| 2 ea. | [PP028KA-200](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP028KA-200&exactmatch=yes) | **\***RING, RETAINING, EXT. |
| 1 ea. | [PP047BLF](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP047BLF&exactmatch=yes) | BEARING |
| 1 ea. | [PP056TB1-168](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-168&exactmatch=yes) | O-RING |
| 1 ea. | [PP056TB1-243](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-243&exactmatch=yes) | O-RING |
| **SEAL MODULE** | | |
| 1 ea. | [PP046JZE](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP046JZE&exactmatch=yes) | SEAL 2.000 MS MTLBLW |
| 1 ea. | [S438FAY](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S438FAY&exactmatch=yes) | SPACER |

|  |  |  |
| --- | --- | --- |
| **PG3DNSJ-275** | **MAJOR KIT** | **3217/1034R** |

Please note: Minor Repair Kits basic common wear parts - seals, bearings, gaskets and o-rings.

|  |  |  |
| --- | --- | --- |
| **Quantity:** | **Part #:** | **Description:** |
| **ELASTOMER/BEARING MODULE** | | |
| 2 ea. | [PP056TB1-012](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-012&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056TB1-438](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-438&exactmatch=yes) | **\***O-RING |
| 1 ea. | [PP056TB1-364](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-364&exactmatch=yes) | O-RING |
| 2 ea. | [PP028KA-200](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP028KA-200&exactmatch=yes) | **\***RING, RETAINING, EXT. |
| 1 ea. | [PP047BLF](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP047BLF&exactmatch=yes) | BEARING |
| 1 ea. | [PP056TB1-168](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-168&exactmatch=yes) | O-RING |
| 1 ea. | [PP056TB1-243](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP056TB1-243&exactmatch=yes) | O-RING |
| **SEAL MODULE** | | |
| 1 ea. | [PP046JZE](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=PP046JZE&exactmatch=yes) | SEAL 2.000 MS MTLBLW |
| 1 ea. | [S438FAY](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S438FAY&exactmatch=yes) | SPACER |
| **INTERNAL WEAR PARTS MODULE** | | |
| 1 ea. | [S404FS](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S404FS&exactmatch=yes) | HOUSING |
| 1 ea. | [S427FAE](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S427FAE&exactmatch=yes) | TUBE |
| 1 ea. | [DSC275AS](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=DSC275AS&exactmatch=yes) | POWER ROTOR |
| 2 ea. | [RSC275AM](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=RSC275AM&exactmatch=yes) | IDLER ROTOR |
| 2 ea. | [S411FG](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S411FG&exactmatch=yes) | HSG. IDLER BAL. PIST. |
| 1 ea. | [S406EAA](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S406EAA&exactmatch=yes) | THRUST PLATE |
| 1 ea. | [S407FR](https://www.imo-pump.com/cf/displaybomactive.php?partnumber=S407FR&exactmatch=yes) | BUSHING |

|  |  |
| --- | --- |
| 9332 North 95th Way  Scottsdale, AZ 85258  ***Phone:480-998-4097***  [sales@apewater.com](mailto:sales@apewater.com) |  |