**WEBTROL NV120 Vertical Multistage Booster Pumps SPEFICATIONS**

The Webtrol NV Series vertical multi-stage booster pumps offer stainless steel pump designs to meet a wide range of industrial process, commercial and agricultural applications. Booster pump bases and flange sizes allow drop in replacement for other brand pumps.

**304 Stainless Steel Pumps**

* All wetted parts are 304 or 316 SS.
* Standard WEG Motors. (ask us about other brands)
* Handles temperatures to 248 F, ideal for hot water process applications.
* Standard cartridge-type mechanical seals.
* Pump design enables standard electric C-Face motors.
* Heavy duty stainless steel hex shaft with stainless steel coupling.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Model:** | **Motor HP:** | **Motor Frame:** | **Pump Length:**  *(Pump only, in.)* | **Weight**  **Pump End:**  *(lbs.)* | **Length:**  *(WEG TEFC Motor only, in.)* | **Weight:**  *(WEG TEFC Motor only, lbs.)* |
| **NV120B1-1** | 3 | 182TC | 20.02 | 110 | 16” | 96 |
| **NV120B1** | 5 | 182TC | 20.02 | 110 | 17” | 106 |
| **NV120B2-2** | 7.5 | 213TC | 22.78 | 117 | 19” | 152 |
| **NV120B2-1** | 7.5 | 213TC | 22.78 | 117 | 19” | 152 |
| **NV120B2** | 7.5 | 213TC | 22.78 | 117 | 19” | 152 |
| **NV120B3-2** | 10 | 213TC | 25.56 | 124 | 20.7” | 179 |
| **NV120B3** | 15 | 254TC | 29.67 | 145 | 25” | 278 |
| **NV120B4-2** | 15 | 254TC | 32.42 | 151 | 25” | 278 |
| **NV120B4** | 15 | 254TC | 32.42 | 151 | 25” | 278 |
| **NV120B5-2** | 20 | 254TC | 35.18 | 158 | 26.7” | 315 |
| **NV120B5** | 20 | 254TC | 35.18 | 158 | 26.7” | 315 |
| **NV120B6-2** | 25 | 284TSC | 37.93 | 167 | 27” | 383 |
| **NV120B6** | 25 | 284TSC | 37.93 | 167 | 27” | 383 |
| **NV120B7-2** | 30 | 286TSC | 40.69 | 174 | 30” | 484 |
| **NV120B7** | 30 | 286TSC | 40.69 | 174 | 30” | 484 |
| **NV120B8-2** | 30 | 286TSC | 43.44 | 181 | 30” | 484 |
| **NV120B8** | 40 | 286TSC | 43.44 | 181 | 30.7” | 570 |
| **NV120B9-2** | 40 | 286TSC | 46.20 | 186 | 30.7” | 570 |
| **NV120B9** | 40 | 286TSC | 46.20 | 187 | 30.7” | 570 |
| **NV120B10-2** | 40 | 286TSC | 48.96 | 192 | 30.7” | 570 |
| **NV120B10** | 40 | 286TSC | 48.96 | 192 | 30.7” | 570 |
| **NV120B11-2** | 40 | 286TSC | 51.71 | 198 | 30.7” | 570 |

|  |  |
| --- | --- |
| 9332 North 95th Way  Scottsdale, AZ 85258  ***Phone:480-998-4097***  [sales@apewater.com](mailto:sales@apewater.com) |  |